## Foglio1
ANNEX 1 rev.14 of DA-05 - Application date: 2025-10-13
Scheme | Sector ID | Sector Name | Metrological Area
Calibration | SAC-01 | Accelerometer chain | Acceleration
Calibration | SAC-02 | Calibrators/Generators | Acceleration
Calibration | SAC-03 | Transfer function | Acceleration
Calibration | SAP-01 | Dividers | Plane Angle
Calibration | SAP-02 | Small angle generators | Plane Angle
Calibration | SAP-03 | Angular instruments | Plane Angle
Calibration | SAP-04 | Angle standards | Plane Angle
Calibration | SAP-05 | (Angle) prisms | Plane Angle
Calibration | SAU-01 | Sound pressure level | Acoustic measurements
Calibration | SAU-02 | Absolute sound pressure sensitivity | Acoustic measurements
Calibration | SBF-01 | DC voltage | DC and low-frequency electrical measurements
Calibration | SBF-02 | DC current | DC and low-frequency electrical measurements
Calibration | SBF-03 | DC resistance | DC and low-frequency electrical measurements
Calibration | SBF-04 | AC voltage | DC and low-frequency electrical measurements
Calibration | SBF-05 | AC current | DC and low-frequency electrical measurements
Calibration | SBF-06 | High voltage | DC and low-frequency electrical measurements
Calibration | SBF-07 | AC resistance | DC and low-frequency electrical measurements
Calibration | SBF-08 | Inductance | DC and low-frequency electrical measurements
Calibration | SBF-09 | Capacitance | DC and low-frequency electrical measurements
Calibration | SBF-10 | High current | DC and low-frequency electrical measurements
Calibration | SBF-11 | Power | DC and low-frequency electrical measurements
Calibration | SBF-12 | Energy | DC and low-frequency electrical measurements
Calibration | SBF-13 | Electric energy measurement for fiscal purposes | DC and low-frequency electrical measurements
Calibration | SBF-16 | High impulse voltage and high impulse current | DC and low-frequency electrical measurements
Calibration | SBF-17 | AC voltage ratio | DC and low-frequency electrical measurements
Calibration | SBF-18 | AC current ratio | DC and low-frequency electrical measurements
Calibration | SBF-19 | Electrical safety | DC and low-frequency electrical measurements
Calibration | SBF-20 | Oscilloscopes | DC and low-frequency electrical measurements
Calibration | SCM-01 | Periodic verification of instruments with legal metrology function | Metrological checks
Calibration | SCM-02 | Verification of technical equipment for vehicle inspection | Metrological checks
Calibration | SDE-01 | Strain gauges – Displacement transducers | Strain
Calibration | SDE-02 | Velocity displacement transducers | Strain
Calibration | SDR-01 | SHORE durometers – plastic materials. IRHD and type A, D, AO, AM durometers – rubber. | Hardness
Calibration | SDR-02 | Vickers, Rockwell, Knoop, Brinell durometers, microhardness testers. | Hardness
Calibration | SDR-03 | Reference blocks | Hardness
Calibration | SEM-01 | Field sensors (calibration factor/coefficient, field strength) | Electromagnetic field
Calibration | SEM-02 | Antennas for environmental electromagnetic field measurements (antenna factor) | Electromagnetic field
Calibration | SFO-01 | Testing machines | Force
Calibration | SFO-03 | Test equipment for measuring tensile and compressive force on construction materials | Force
Calibration | SFO-04 | Impact resilience pendulum testers for metallic materials | Force
Calibration | SFO-05 | Resilience pendulum testers for plastic materials | Force
Calibration | SFO-06 | Dynamometers/load cells for compression and tension | Force
Calibration | SHU-01 | Measurement instruments | Humidity
Calibration | SHU-02 | Dynamic generators | Humidity
Calibration | SHU-03 | Static generators | Humidity
Calibration | SIM-01 | Magnetic induction | Magnetic induction
Calibration | SIR-01 | Irradiance | Irradiance
Calibration | SLN-01 | Threaded diameter standards | Length
Calibration | SLN-02 | Parallel gauge blocks (PGB) | Length
Calibration | SLN-03 | Long parallel gauge blocks (PGB) | Length
Calibration | SLN-05 | Gauges for armament | Length
Calibration | SLN-06 | Step gauges | Length
Calibration | SLN-07 | Serrated standards | Length
Calibration | SLN-08 | Flatness standards | Length
Calibration | SLN-09 | Roundness standards | Length
Calibration | SLN-10 | Roughness standards | Length
Calibration | SLN-11 | Smooth diameter standards | Length
Calibration | SLN-12 | Coordinate Measuring Machines (CMMs) | Length
Calibration | SLN-13 | CMM used as a comparator | Length
Calibration | SLN-14 | Optical discs and graduated rules | Length
Calibration | SLN-15 | Measuring rods (meter sticks, folding rules, tape measures) | Length
Calibration | SLN-16 | Manual instruments: calipers and micrometers | Length
Calibration | SLN-17 | Manual instruments: dial indicators and transducers | Length
Calibration | SLN-19 | Single-axis measuring machines | Length
Calibration | SLN-20 | Profile projectors | Length
Calibration | SLN-21 | Road sections | Length
Calibration | SLN-22 | Dimensional measurements using non-contact techniques | Length
Calibration | SMA-01 | Mass standards and weights | Mass
Calibration | SMA-02 | Non-automatic weighing instruments (NAWI) | Mass
Calibration | SMA-03 | Gas mass | Mass
Calibration | SMA-04 | Automatic weighing instruments (AWI) | Mass
Calibration | SMA-05 | Mass of liquids | Mass
Calibration | SMT-01 | Torque wrenches and screwdrivers with direct-reading and/or click mechanisms | Torque
Calibration | SMT-02 | Torque meters | Torque
Calibration | SMT-04 | Torque test benches | Torque
Calibration | SOT-01 | Optical power | Optical measurements
Calibration | SOT-02 | Optical fiber attenuation | Optical measurements
Calibration | SOT-03 | Wavelength | Optical measurements
Calibration | SOT-04 | Luminous flux | Optical measurements
Calibration | SOT-05 | Illuminance | Optical measurements
Calibration | SOT-06 | Luminous intensity | Optical measurements
Calibration | SOT-07 | Luminance | Optical measurements
Calibration | SOT-08 | Colour temperature | Optical measurements
Calibration | SOT-09 | Spectral radiance | Optical measurements
Calibration | SOT-10 | Spectral irradiance | Optical measurements
Calibration | SOT-11 | Spectral sensitivity | Optical measurements
Calibration | SOT-12 | Solar irradiance | Optical measurements
Calibration | SOT-13 | Spectral reflectance factor | Optical measurements
Calibration | SPO-01 | Gas flow rate (mass and volumetric) | Flow
Calibration | SPO-02 | Liquid flow rate (mass and volumetric) | Flow
Calibration | SPO-03 | Thermal energy | Flow
Calibration | SPR-01 | Pressure transducers in liquid media under gauge/absolute conditions | Pressure
Calibration | SPR-02 | Pressure transducers in gaseous media under gauge/absolute conditions | Pressure
Calibration | SPR-03 | Pressure transducers in gaseous media under negative gauge pressure conditions | Pressure
Calibration | SPR-04 | Pressure balances in liquid media under gauge conditions | Pressure
Calibration | SPR-05 | Pressure balances in gaseous media under gauge conditions | Pressure
Calibration | SPR-07 | Vacuum gauges | Pressure
Calibration | SPR-09 | Differential pressure transducers in gas | Pressure
Calibration | SPT-01 | Thermal power | Thermal power
Calibration | SQS-03 | Gas mixtures | Amount of substance
Calibration | SQS-05 | Analytical measurement instrumentation | Amount of substance
Calibration | SQS-06 | Optical particle counter | Amount of substance
Calibration | SQS-07 | Alcohol level measurement instrumentation | Amount of substance
Calibration | SRF-01 | Power (absolute level, calibration factor/correction coefficient, bandwidth) | Radio Frequency (RF) measurements
Calibration | SRF-02 | Scalar parameters (attenuation, reflection coefficient, standing wave ratio) | Radio Frequency (RF) measurements
Calibration | SRF-03 | Scattering parameters – magnitude and phase | Radio Frequency (RF) measurements
Calibration | SRF-04 | Characteristics of signals and pulses | Radio Frequency (RF) measurements
Calibration | SRI-01 | Dosimetry for environmental radioprotection, mammography, and high doses with low-energy X-ray radiation | Ionizing radiation
Calibration | SRI-02 | Dosimetry for environmental radioprotection, radiodiagnostics, and high doses with medium-energy X-ray radiation | Ionizing radiation
Calibration | SRI-03 | Dosimetry for environmental radioprotection with gamma radiation | Ionizing radiation
Calibration | SRI-04 | Personal radiation dosimetry | Ionizing radiation
Calibration | SRI-05 | Surface contamination measurement | Ionizing radiation
Calibration | SRI-06 | Measurement of radionuclide activity | Ionizing radiation
Calibration | STE-01 | Thermocouples | Temperature
Calibration | STE-02 | Resistance thermometers | Temperature
Calibration | STE-03 | Expansion thermometers | Temperature
Calibration | STE-04 | Temperature measurement chains (indicators and transmitters) | Temperature
Calibration | STE-05 | Calibrators (measuring and simulating) | Temperature
Calibration | STE-07 | Radiation thermometers (pyrometers) | Temperature
Calibration | STE-08 | Instruments and thermometers for measuring air temperature | Temperature
Calibration | STE-09 | Portable calibration furnaces and baths | Temperature
Calibration | STE-10 | Thermostatic and climatic chambers (temperature measurement) | Temperature
Calibration | STE-11 | Temperature measurement chains installed in industrial steam generators | Temperature
Calibration | STE-12 | Thermometry in heat treatment processes | Temperature
Calibration | STF-01 | Frequency | Time and frequency measurements
Calibration | STF-02 | Time interval | Time and frequency measurements
Calibration | STF-03 | Instruments for the inspection of tachographs | Time and frequency measurements
Calibration | SVA-01 | Anemometers | Air velocity
Calibration | SVE-01 | Vehicle speedometers | Velocity
Calibration | SVO-01 | Gas volume | Volume
Calibration | SVO-02 | Liquid volume | Volume