## 0 ¦ Cover
Calibration Laboratories Department
| Titolo / Title | Domanda di accreditamento per Laboratori di Taratura (LAT) | in conformità alla norma UNI CEI EN ISO/IEC 17025:2018
|  | Application for Accreditation of Calibration Laboratories (LAT) | in accordance to the standard UNI CEI EN ISO/IEC 17025:2018
| Sigla / Reference | DA-05 |  | DA-05 rev. 11-14
| Revisione / Revision | 11-14
| Entrata in vigore / Application date | 20-10-2025
Revision Notes
The overall structure of the DA-05 application document has not been modified, then it is still in rev. 11. The application has been aligned with the updated annex Allegato 1 "Correspondence between metrological areas and metrological sectors for LAT" (issued in rev. 14 on 13-10-2025), as detailed below: - Creation of the new sector SCM-02 “Verification of technical equipment for vehicle inspection” under the metrological area “Metrological checks” - Creation of the new sector SQS-07 “Alcohol level measurement instrumentation” under the metrological area “Amount of substance” - Change the name of sector "Concentration of gas mixtures" (SQS-03) in "Gas mixtures". The content of the new version of Annex 1 is available within this DA-05 through the dropdown lists in the fields “Metrological area” and “Metrological sector” in sections 2 “Scope of accreditation” and 6 “PT or ILC participation”.
Completion notes
Please read carefully the informational notes provided in the various sections of the document.

## 1 ¦ General Information
Calibration Laboratories Department
DA-05 rev. 11-14
1 | General
| Registered name of the laboratory |  |  | LAT |  | Number (if available)
| Website | www. |  | [Type 'x' in the box on the left, then enter the accreditation details on the right]
| Please indicate any additional accreditations and/or certifications of the Laboratory. | Reference Material Producer (ISO 17034)
Testing Laboratory(ISO/IEC 17025)
Other accreditations/certifications [Specify at the side]
| Application for | ACCREDITATION
Where necessary, provide any information useful for understanding the subject/purpose of the submitted application
|  | Select the type of location/site… [Only use the options listed] | …then indicate the address (where applicable) of the location where the calibrations are performed. [Each location is automatically assigned a unique code in the 'ID' column]
| For performing calibrations at: |  | Address |  |  |  | ID
List of sections included in this DA-05:
[Type 'x' to indicate that the section has been completed]
| Sec. 1 | General information (this section)
| Sec. 2 | Accreditation scope
| Sec. 3 | Resources ¦ Personnel
| Sec. 4 | Resources ¦ Equipment
| Sec. 5 | Management system documentation
| Sec. 6 | Participation in Interlaboratory Proficiency Testing (PT) and/or Interlaboratory Comparisons (ILC)
| Sec. 7 | Annexes to be submitted with this application
Provide a reason if one or more sections have not been completed:
I declare that this DA-05 application, a specific annex to the DA-00 Accreditation Application, is complete in all the required sections, except for the reasons previously stated.
Date of last completion
Version of the present application
Laboratory stamp, name, and signature of the Legal Representative (1)
| (1) | Legal Representative or their delegate.

## 2 ¦ Personale OLD (hidden)
Calibration Laboratories Department
#REF!
2 | Personale
Scopo: | Fornire informazioni relative al personale del Laboratorio, in termini di qualifica e di responsabilità assegnata.
Note:
(1) | Titolo di studio. Il curriculum professionale, datato e firmato, deve essere allegato alla presente domanda (cfr. A.2 nella sez. Allegati).
(2) | Selezionare (possibilità di selezione multipla) tra: Responsabile del Laboratorio (unico); Sostituto del Responsabile (al più uno per ogni grandezza); Responsabile UOD (se applicabile); Responsabile del Sistema di Gestione (unico); Assistente del Responsabile del Sistema di Gestione (eventuale), Operatore.
(3) | Solo per Sostituto e Operatore: indicare la grandezza di pertinenza (cfr. All. 1 alla presente DA-05).
ID | Nome e Cognome | Qualifica (1) | Ruolo (2) | Aree metrologiche / Settori (3)
1 |  |  | Responsabile del Laboratorio
2
3
4
5
6
7
8
9
10
11
12
13
14
15

## 2 ¦ Scope of accreditation
Calibration Laboratories Department |  | i | This section must be completed. | - always for ACCREDITATION - always and only for RENEWAL with change in the accreditation scope - always for EXTENSION and REDUCTION (only for the parts related to the sectors involved) - always for change of the ACCREDITATION scope (only for the parts related to the changes requested) - for REGULATORY ADJUSTMENT in case of consequent changes to the scope, including changes limited to the edition of the standard
DA-05 rev. 11-14
2 | Accreditation scope
Scope: | Indicate the scope of accreditation, namely the metrological areas and sectors (see Annex 1 to this DA-05), the instruments, measurement ranges, and expanded uncertainties (see EA-4/02) for which the Laboratory requests to be assessed.
When completing this section, please strictly follow the instructions provided in the notes below.
Notes:
(1) | Select in case of any changes with respect to the current scope of accreditation (in the case of a Renewal application with modification of the scope or a Modification of the scope). [Type 'x' to select] A detailed description of the changes made can be provided using the 'Notes' field or may be contained in dedicated documents (to be referenced in the same 'Notes' field).
(2) | Leave the field empty in case of a new sector, meaning a sector not yet present in Annex 1 for the specific metrological area.
(3) | Indicate any additional information (supplementing the measurement range) that contributes to defining the conditions under which the declared measurement uncertainty is valid.
(4) | Indicate the calibration method, specifying the standard(s) in the case of a standardized method, or 'Internal Method' with a brief description.
(5) | Indicate the procedure related to the specific accreditation subject in which the calibration method is described, using the corresponding ID from the procedure list (section 5). |  |  |  | Go to the procedure list. >>>
(6) | Indicate the location where the specific calibration is performed, using the corresponding ID from the list in section 1. [The possible entries are presented in the list inside the cell]
(7) | Select in case of accreditation for a flexible scope (see RT-26). [Type 'x' to select.] Enter the requested flexibilities in the following 'Notes' field.
Modification (1) | Metrological area | Metrological sector (2) | Instrument subject to calibration | Measurement conditions (3) | Measurement range / measurement unit | Expanded uncertainty / measurement unit | Method (4) | Reference procedure (5) | Place / Site (6) | Flexible (7) | Notes
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A

## 3 ¦ Resources - Personnel
Calibration Laboratories Department
DA-05 rev. 11-14
3 | Resources ¦ Personnel
Purpose: | Provide information regarding the Laboratory personnel (with reference to §6.2 of ISO/IEC 17025), in terms of assigned responsibilities (role / function).
Notes:
(1) | Indicate the assigned role and/or function, with reference to the organizational chart of the Laboratory structure (see Annex section A.1) and to the various roles/functions for which the Laboratory has identified and documented the necessary competence requirements.
(2) | Select in the case of external personnel to the Laboratory, i.e., contracted for the performance of the assigned functions. [Type "x" to select]
(3) | Indicate the metrological area and/or relevant sectors (see Annex 1 to this DA-05), or indicate 'Management system'. If applicable (e.g., for external calibration activities), also indicate the geographical area in which the personnel operate, both at the national level (region) and in foreign countries.
(4) | Select in the case of personnel authorized by the Laboratory to issue opinions and interpretations(§7.8.7 ISO/IEC 17025). [Type "x" to select] Provide in the following field "O&I ¦ Areas of Application" any additional information (e.g., metrological sectors) related to the application of O&I by the Laboratory.
ID | Full Name (First and Last Name) | Role / Function (1) | External (2) | Areas of Expertise (3) | O&I (4) | O&I ¦ Areas of Application
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15

## 3 ¦ Altre informazioni (hidden)
Calibration Laboratories Department
#REF!
3 | Altre informazioni
3.1 | Il Laboratorio esegue tarature per l'Organizzazione a cui appartiene?
Eventuali commenti
3.2 | Il Laboratorio esegue tarature per conto terzi?
Eventuali commenti
Nei casi di domanda di ACCREDITAMENTO/ESTENSIONE:
3.3 | Indicare, per le tarature richieste in accreditamento, il numero approssimativo di tarature effettuate (rapporti di taratura emessi) dal Laboratorio nell’anno precedente la domanda
Nei casi di domanda di RINNOVO:
3.4 | Numero dei Certificati di Taratura emessi con marchio ACCREDIA durante il periodo del precedente accreditamento
3.5 | Fornire, se rilevanti/applicabili, informazioni circa l’inserimento del Laboratorio all’interno della propria organizzazione madre, compresi i rapporti di interdipendenza con altre strutture (ad es. specificare se il Laboratorio condivide personale, attrezzature, locali con altre strutture, se utilizza materiali/servizi forniti da altri reparti, se al personale indicato nella sez. 2 sono attribuite ulteriori responsabilità, etc. ...)
3.6 | Ai fini dell'esecuzione della valutazione su campo, indicare se il personale addetto alle attività descritte nel manuale del sistema di gestione e le relative registrazioni sono disponibili presso la sede del Laboratorio indicata in DA-00 al § 2.1 oppure, in caso contrario, indicare quali attività e quali registrazioni sono collocate altrove (tenendo conto anche delle eventuali UOD).
SI
NO
SI
NO
Disponibili presso la sede
Disponibili altrove (specificare nello spazio sottostante)

## 4 ¦ Resources - Equipment
Calibration Laboratories Department |  |  |  | i | The completion of this section may be omitted provided that | - the Laboratory makes available an equivalent document that includes all the information required in this section, namely the complete list of equipment in use, and - the information that clarifies the relationship between what is reported in other sections of this DA-05 (for example, the management system documentation) and what is included in the document referred to in the previous point provided by the Laboratory is submitted
DA-05 rev. 11-14
4 | Resources ¦ Equipment
Purpose: | Provide the complete list of equipment (e.g., standards, instruments, reference materials, software, etc.) used by the Laboratory for the execution of calibrations subject to accreditation, including those not owned by the Laboratory.
Notes:
(1) | Sequential Number
(2) | (see. UNI CEI 70099:2008): reference measurement standard (see §5.6) - previously, 'primary standard' ; working measurement standard (see §5.7) - previously, "secondary standard"; travelling measurement standard (see. §5.8) - Usually used for external calibrations; transfer measuring device (see §5.9).
(3) | Select if the equipment is not owned by the Laboratory, but is fully available for use. [Type "x" to select].
(4) | Select if the equipment is not for the exclusive use of the Laboratory, regardless of actual ownership. [Type "x" to select].
(5) | Indicate the procedure(s) using the corresponding ID from the list of management system documents (section 5). | [6 empty] | Go to the documentation list >>>
(6) | Select if subject to internal calibration (see RT-25), that is, a calibration whose results significantly influence the Laboratory’s Calibration and Measurement Capabilities (CMC) and which i) is not within the scope of the LAT’s accreditation (and therefore cannot be offered as an accredited calibration service); ii) is performed using personnel and equipment under the direct and exclusive control of the LAT or the organization to which the LAT belongs, applying technical procedures positively evaluated by ACCREDIA DT. [Type "x" to select]
(7) | Do not indicate in case of internal calibration.
[8 empty] | Use | Calibration
ID (1) | Type of equipment (2) | Not owned (3) | Non-exclusive use (4) | Description | Manufacturer / Producer | Model / Type | Serial Number | Procedure (5) | Internal (6) | Frequency (months) | Procedure (5) | Supplier (7) | Number / date of the document with the results of the latest calibration
1 | Other measuring instruments (non-standards)

## 5 ¦ Management system document.
Calibration Laboratories Department
DA-05 rev. 11-14
5 | Management system documentation
Purpose: | Identify the management system documentation implemented by the Laboratory, that is, documents and procedures documented in their current revision, indicating any changes compared to previous versions (already positively evaluated by ACCREDIA DT).
Notes:
(1) | Sequential number to be used in the description of the scope of accreditation (section 2). |  |  | Go to the Scope of Accreditation >>>
(2) | Select if the procedure includes the program for metrological confirmation, calibration, and intermediate assessments, as well as any control of transport effects for external calibrations of reference measurement standards.
(3) | Select if the specific procedure relates to accreditation for a flexible scope. [Type "x" to select]
(4) | Select in case of any changes to procedures already positively evaluated by ACCREDIA DT (in the case of Renewal or Extension/Reduction application). [Type "x" to select]
Management system option |  |  | Indicate the option (A or B) adopted for the management system, with reference to §8.1 of ISO/IEC 17025.
ID (1) | Abbreviation / identification code | Revision index | Title | Metrological significance (2) | Flexible (3) | Variation (4)

## 6 ¦ Partecipation in PT or ILC
Calibration Laboratories Department
DA-05 rev. 11-14
6 | Participation in Interlaboratory Proficiency Testing (PT) and/or Interlaboratory Comparisons (ILC)
Purpose: | Indicate the PTs and/or ILCs for which the Laboratory provides evidence (of participation or results) for the purpose of competence assessment by ACCREDIA DT. Indicate the measurement audits and/or on-site experimental assessments for which the Laboratory requests ACCREDIA DT to carry out for the purpose of competence assessment.
When filling out this section, please adhere strictly to the instructions provided in the following notes
Notes:
(1) | Sequential Number.
(2) | Indicate the type of comparison planned by the Laboratory for the specific sector. If there are multiple different comparisons for the same sector, separate rows must be completed.
(3) | Indicate the implementation status of the specific comparison (only for PT/ILC and Small ILC).
(4) | If the results are available anonymously (for example, multilateral comparisons with outcomes in a single report), indicate the code or any other information that allows the identification of the results related to the Laboratory.
(5) | If it is an interlaboratory comparison as defined in EA-4/21 (Small ILC, S-ILC), indicate whether the Laboratory is also the organizer (ORG) as well as a participant, or only a participant (PART), providing alongside the name of the S-ILC organizer.
(6) | In case of a request for a measurement audit or on-site experimental assessment [Type "x" to select] complete the following columns of the table (Instrument, Calibration service provider, Calibration certificate). Refer to section 7 for the required documentation (records of searches conducted by the Laboratory proving the unavailability of PT/ILC; copies of Calibration Certificates).
(7) | Indicate the instrument selected by the Laboratory to be used for the requested verification (measurement audit or on-site experimental assessment).
(8) | Indicate the provider—if available—of the Calibration Certificate for the instrument to be used for the requested verification.
(9) | Indicate the details of the Calibration Certificate—if available—for the instrument to be used for the requested verification.
|  |  |  | General (PT/ILC and Small ILC) |  | PT/ILC |  |  | Small ILC (5) |  |  | Measurement audit / On-site experimental assessment (6)
ID (1) | Metrological area | Metrological sector | Type of comparison (2) | Implementation (3) | Identifier | Provider | Item/Instrument | Code (4) | Role | Organizer | Code (4) | Instrument (7) | Calibration service provider (8) | Calibration Certificate (9)
1 | [14 empty] | #N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A

## 7 ¦ Annexes
Calibration Laboratories Department
DA-05 rev. 11-14 |  |  | X | Mandatory |  |  | O | Limited to the subject of the application
7 | Annexes to be submitted with this application | Accreditation | Renewal with/without scope modification | Extension | Modification of accreditation scope | Maintenance of the flexible scope | Regulatory adjustment | Reduction | Change of registration details / Transfer of ownership
Note: | Failure to submit all required annexes constitutes sufficient grounds for the rejection of the entire application.
A.1 | Named organizational chart of the Laboratory structure (including at least all the individuals listed in Section 3). | X | X | O |  |  |  | O | O
A.2 | Dated and signed professional CVs of all personnel listed in Section 3. | X | X | O |  |  |  |  | O
A.3 | Laboratory Management System documentation, as listed in Section 5. Each document – in its latest revision – must be provided in PDF electronic format (under controlled distribution). | X | X | O | O | X | O | O | X
A.4 | Copy of the Calibration Certificates (in PDF electronic format) for the reference measurement standards available at the Laboratory | X | X | O | O |  |  |  | O
A.5 | Evidence of participation (or, where available at the date of application submission, the results) in PT and/or ILC (see RT-39) as indicated in Section 6. | X | X | O | O
A.6 | In cases where measurement audits or on-site experimental assessments are required (see list in Section 6): - Evidence of records of searches conducted by the Laboratory demonstrating the unavailability of PT and/or ILC; - Copy of the Calibration Certificates (in PDF electronic format) related to the requested measurement audits or on-site experimental assessments. | X | X | O | O
A.7 | Checklist (MD-09-05-S-DT) duly completed in 'self-assessment' mode for the Laboratory evaluation | X | X | X | O |  |  |  | O
A.8 | Minutes of the latest Management Review, in accordance with the requirements of ISO/IEC 17025. | X | [6 empty] | X
A.9 | Assessment of possible effects of the reduction on other accredited fields (seeRG-13 5.2.1). | [6 empty] | X
A.10 | Company registration extract valid for legal purposes (6 months) or an equivalent document certifying that the Laboratory holds a VAT number (as required by DA-00 Section 2.2.1). | X | X | [5 empty] | X

## _config (hidden)
Quantities |  | Type of procedure (technical/management) | Type of standard/instrument | Application |  | Calibration/production site | Status of PT/ILC implementation | Role in S-ILC | Type of comparison
(Non-coded quantity) | NOCOD | Technical | Reference measurement standard | ACCREDITATION | ACC | at the Laboratory's permanent facility | Order issued | PART | PT/ILC
[LAT] ACCELERATION | SAC | Management | Working measurement standard | RENEWAL with confirmation of the accreditation scope | RCON | at the Laboratory's temporary facility | Planned | ORG | Small ILC (S-ILC)
[LAT] PLANE ANGLE | SAP |  | Travelling measurement standard | RENEWAL with request for modification of the accreditation scope | RMOD | at the Laboratory's mobile facility | Performed, awaiting results |  | Measurement Audit
[LAT] CATALYTIC ACTIVITY | SCT |  | Transfer Measuremtn Device | EXTENSION | EST | External, at the Client's premises | Performed, results available |  | On-site Experimental Assessment
[LAT] ELECTROMAGNETIC FIELD | SEM |  | Other measuring instruments (non-standards) | EXTENSION to flexible scope | EFLEX
[LAT] METROLOGICAL CONTROLS | SCM | Role | Reference Materials | MODIFICATION of the accreditation scope | MOD
[LAT] DEFORMATION | SDE |  | Software | MAINTENANCE of flexible scope | MFLEX
[LAT] HARDNESS | SDR | Laboratory Manager | Other | REGULATORY ADJUSTMENT | ADEG
[LAT] FORCE | SFO | Substitute Manager |  | REDUCTION | RID
[LAT] MAGNETIC INDUCTION | SIM | UOD (Operational Unit) Manager |  | CHANGE OF REGISTRATION DETAILS or TRANSFER OF OWNERSHIP | VAR
[LAT] IRRADIANCE | SIR | Management System Manager
[LAT] LENGTH | SLN | Assistant to the Management System Manager |  | Addition of one or more sectors not included in the scope
[LAT] MASS | SMA | Operator |  | Changes within the sectors already included in the scope
[LAT] RADIOFREQUENCY (RF) MEASUREMENTS | SRF |  |  | Removal of one or more sectors included in the scope
[LAT] ACOUSTIC MEASUREMENT | SAU
[LAT] TIME AND FREQUENCY MEASUREMENT | STF
[LAT] DC AND LOW-FREQUENCY ELECTRICAL MEASUREMENTS | SBF
[LAT] OPTICAL MEASUREMENTS | SOT
[LAT] TORQUE | SMT | CMC
[LAT] FLOW | SPO | Calibration Method
[LAT] THERMAL POWER | SPT | Sampling Method
[LAT] PRESSURE | SPR | Instruments ¦ Metrological Confirmation
[LAT] AMOUNT OF SUBSTANCE | SQS | Instruments¦ Intermediate Assessment
[LAT] IONIZING RADIATIONS | SRI | Verification of results validity
[LAT] TEMPERATURE | STE | Personnel ¦ Roles and competencies
[LAT] HUMIDITY | SHU | Handling of complaints
[LAT] VELOCITY | SVE | Other
[LAT] AIR VELOCITY | SVA
[LAT] VOLUME | SVO
Sector
[STE-01] Thermocouples
[STE-02] Resistance thermometers
[STE-03] Expansion thermometers
[STE-04] Temperature measurement chains (indicators and transmitters)
[STE-05] Calibrators (measuring and simulating)
[STE-07] Radiation thermometers (pyrometers)
[STE-08] Instruments and thermometers for measuring air temperature
[STE-09] Portable calibration furnaces and baths
[STE-10] Thermostatic and climatic chambers (temperature measurement)
[STE-11] Temperature measurement chains installed in industrial steam generators
[STE-12] Thermometry in heat treatment processes
[SHU-01] Measurement instruments
[SHU-02] Dynamic generators
[SHU-03] Static generators
[SPT-01] Thermal power
[SPR-01] Pressure transducers in liquid media under gauge/absolute conditions
[SPR-02] Pressure transducers in gaseous media under gauge/absolute conditions
[SPR-03] Pressure transducers in gaseous media under negative gauge pressure conditions
[SPR-04] Pressure balances in liquid media under gauge conditions
[SPR-05] Pressure balances in gaseous media under gauge conditions
[SPR-07] Vacuum gauges
[SPR-09] Differential pressure transducers in gas
[SAC-01] Accelerometer chain
[SAC-02] Calibrators/Generators
[SAC-03] Transfer function
[SBF-01] DC voltage
[SBF-02] DC current
[SBF-03] DC resistance
[SBF-04] AC voltage
[SBF-05] AC current
[SBF-06] High voltage
[SBF-07] AC resistance
[SBF-08] Inductance
[SBF-09] Capacitance
[SBF-10] High current
[SBF-11] Power
[SBF-12] Energy
[SBF-13] Electric energy measurement for fiscal purposes
[SBF-16] High impulse voltage and high impulse current
[SBF-17] AC voltage ratio
[SBF-18] AC current ratio
[SBF-19] Electrical safety
[SBF-20] Oscilloscopes
[SRF-01] Power (absolute level, calibration factor/correction coefficient, bandwidth)
[SRF-02] Scalar parameters (attenuation, reflection coefficient, standing wave ratio)
[SRF-03] Scattering parameters – magnitude and phase
[SRF-04] Characteristics of signals and pulses
[SEM-01] Field sensors (calibration factor/coefficient, field strength)
[SEM-02] Antennas for environmental electromagnetic field measurements (antenna factor)
[SIM-01] Magnetic induction
[SAU-01] Sound pressure level
[SAU-02] Absolute sound pressure sensitivity
[SOT-01] Optical power
[SOT-02] Optical fiber attenuation
[SOT-03] Wavelength
[SOT-04] Luminous flux
[SOT-05] Illuminance
[SOT-06] Luminous intensity
[SOT-07] Luminance
[SOT-08] Colour temperature
[SOT-09] Spectral radiance
[SOT-10]Spectral irradiance
[SOT-11] Spectral sensitivity
[SOT-12] Solar irradiance
[SOT-13] Spectral reflectance factor
[SMA-01] Mass standards and weights
[SMA-02] Non-automatic weighing instruments (NAWI)
[SMA-03] Gas mass
[SMA-04] Automatic weighing instruments (AWI)
[SMA-05] Mass of liquids
[SVO-01] Gas volume
[SVO-02] Liquid volume
[SPO-01] Gas flow rate (mass and volumetric)
[SPO-02] Liquid flow rate (mass and volumetric)
[SPO-03] Thermal energy
[SFO-01] Testing machines
[SFO-03] Test equipment for measuring tensile and compressive force on construction materials
[SFO-04]Impact resilience pendulum testers for metallic materials
[SFO-05] Resilience pendulum testers for plastic materials
[SFO-06] Dynamometers/load cells for compression and tension
[SDE-01] Strain gauges – Displacement transducers
[SDE-02] Velocity displacement transducers
[SDR-01] SHORE durometers – plastic materials. IRHD and type A, D, AO, AM durometers – rubber.
[SDR-02] Vickers, Rockwell, Knoop, Brinell durometers, microhardness testers.
[SDR-03] Reference blocks
[SMT-01] Torque wrenches and screwdrivers with direct-reading and/or click mechanisms
[SMT-02] Torque meters
[SMT-04] Torque test benches
[SQS-03] Gas mixtures
[SQS-05] Analytical measurement instrumentation
[SQS-06] Optical particle counter
[SQS-07] Alcohol level measurement instrumentation
[STF-01] Frequency
[STF-02] Time interval
[STF-03] Instruments for the inspection of tachographs
[SLN-01] Threaded diameter standards
[SLN-02] Parallel gauge blocks (PGB)
[SLN-03] Long parallel gauge blocks (PGB)
[SLN-05] Gauges for armament
[SLN-06] Step gauges
[SLN-07] Serrated standards
[SLN-08] Flatness standards
[SLN-09] Roundness standards
[SLN-10] Roughness standards
[SLN-11] Smooth diameter standards
[SLN-12] Coordinate Measuring Machines (CMMs)
[SLN-13] CMM used as a comparator
[SLN-14] Optical discs and graduated rules
[SLN-15] Measuring rods (meter sticks, folding rules, tape measures)
[SLN-16] Manual instruments: calipers and micrometers
[SLN-17] Manual instruments: dial indicators and transducers
[SLN-19] Single-axis measuring machines
[SLN-20] Profile projectors
[SLN-21] Road sections
[SLN-22] Dimensional measurements using non-contact techniques
[SAP-01] Dividers
[SAP-02] Small angle generators
[SAP-03] Angular instruments
[SAP-04] Angle standards
[SAP-05] (Angle) prisms
[SIR-01] Irradiance
[SVE-01] Vehicle speedometers
[SVA-01] Anemometers
[SRI-01]Dosimetry for environmental radioprotection, mammography, and high doses with low-energy X-ray radiation
[SRI-02] Dosimetry for environmental radioprotection, radiodiagnostics, and high doses with medium-energy X-ray radiation
[SRI-03] Dosimetry for environmental radioprotection with gamma radiation
[SRI-04]Personal radiation dosimetry
[SRI-05] Surface contamination measurement
[SRI-06] Measurement of radionuclide activity
[SCM-01] Periodic verification of instruments with legal metrology function
[SCM-02] Verification of technical equipment for vehicle inspection
(Uncoded sector)
(Unavailable sector)